Literature Survey

| S. No | Author & Year | Methodology / Technique | Dataset Used | Performance | Limitations |
| --- | --- | --- | --- | --- | --- |
| 1 | Santoso et al., 2025 | CNN-AHM (CNN + Attention) + Random Forest Ensemble | Custom optical sensor dataset (540 samples) | RMSE = 7.62 mg/dL, R² = 0.83 | Limited dataset size, basic attention mechanism, computational complexity |
| 2 | Naresh et al., 2024 | NIR Spectroscopy + SVR, RF, PCA + Neural Networks | NIR spectral dataset (564 samples) | R² > 0.99 | Lab-based dataset, poor real-world generalization |
| 3 | Sun & Kosmas, 2025 | Hybrid NIR + mm-wave sensing with Meta-Forest | Sensor-based dataset | RMSE = 31.83 mg/dL | High error rate, lacks interpretability |
| 4 | Zeynali et al., 2025 | Deep Learning (ResNet34 on PPG signals) | PPG signal dataset | R² = 0.40 | Low accuracy, weak generalization |
| 5 | Hina & Saadeh, 2022 | NIR-based non-invasive glucose monitoring (Review) | Multiple datasets | Not specified | Sensitive to noise, expensive hardware |
| 6 | Srichan et al., 2022 | Shallow Neural Networks + NIR signals | Sensor dataset | Improved accuracy | Limited deep feature extraction |
| 7 | Yu et al., 2021 | Transfer Learning with NIR spectroscopy | Portable spectrometer dataset | High accuracy | Requires expensive devices |
| 8 | Jain et al., 2024 | IoMT + Healthcare Cyber Physical System | Healthcare datasets | Not specified | Complex deployment, scalability issues |